## Database
1.Product ID | 2.Group | 3. Sub Group | 4.Category | 5.Product Type | 6.Class | 7.Product size | 8.Color | 9.Brand | 10.Model / Factory Code | 11.Unit | 12.Descriptions | 13. Labour Hour
| MVAC | Ventilation & Exaust Fans | In Line Ducted | Exhaust Fan | Capacity 750 CMH@100 Pa |  |  | Systemair |  | Set | In Line Ducted Exhaust Fan Capacity 750 CMH@100 Pa Systemair | 1.25 | MVAC | ELECTRICAL | PLUMBING & FF | SERVICE | GENERAL | STATIONARY
| MVAC | Ventilation & Exaust Fans | In Line Ducted | Exhaust Fan | Capacity 480 CMH@100 Pa |  |  | Systemair |  | Set | In Line Ducted Exhaust Fan Capacity 480 CMH@100 Pa Systemair | 1.2 | Piping & Accessories | Busduct & Accessories | Piping & Accessories | Testing & Commissioning
| MVAC | Ventilation & Exaust Fans | In Line Ducted | Exhaust Fan | Capacity 430 CMH@100 Pa |  |  | Systemair |  | Set | In Line Ducted Exhaust Fan Capacity 430 CMH@100 Pa Systemair | 1.15 | Valves, Air Vent & Dampers | Cable Tray & Ladder & Containment | Cable & Teminator & Accessories | Rental & Transportation & Installing Fee
| MVAC | Ventilation & Exaust Fans | In Line Ducted | Exhaust Fan | Capacity 350 CMH@75 Pa |  |  | Systemair |  | Set | In Line Ducted Exhaust Fan Capacity 350 CMH@75 Pa Systemair | 1.1 | Ducting & Accessories | Cable & Teminator & Accessories
| MVAC | Ventilation & Exaust Fans | In Line Ducted | Exhaust Fan | Capacity 270 CMH@100 Pa |  |  | Systemair |  | Set | In Line Ducted Exhaust Fan Capacity 270 CMH@100 Pa Systemair | 1 | Hangers, Supports & Accessories | Circuit Breaker & Panel Devices
| MVAC | Ventilation & Exaust Fans | Ceiling Mounted | Exhaust Fan | Capacity 200CMH @50 Pa |  |  | Systemair |  | Set | Ceiling Mounted Exhaust Fan Capacity 200CMH @50 Pa Systemair | 1 | Louver, Grilles & Diffusers | Conduits & Accessories
| MVAC | Ventilation & Exaust Fans | Ceiling Mounted | Exhaust Fan | Capacity 150 CMH@75 Pa |  |  | Systemair |  | Set | Ceiling Mounted Exhaust Fan Capacity 150 CMH@75 Pa Systemair | 0.5 | Main Equipments & System Units | Earthing System
| ELECTRICAL | Earthing System | Earthing Bar | 8 Holes |  | 50x440x6mm |  | Kumwell | GBPGSS-8 | pcs | Earthing Bar 8 Holes 50x440x6mm Kumwell GBPGSS-8 | 2.3 | Refrigerant & Gas | ELV
| ELECTRICAL | Earthing System | Earthing | System | [5 empty] | Lot | Earthing System | 16 | Ventilation & Exaust Fans | Generator Set
| ELECTRICAL | Earthing System | (Three Way Cable to Rod) | One Time |  | 70 mm2 |  | Kumwell | CR395-70 | pcs | (Three Way Cable to Rod) One Time 70 mm2 Kumwell CR395-70 | 1.5 |  | Lights & Lighting
| ELECTRICAL | Earthing System | (Three Way Cable to Rod) | One Time |  | 35 mm2 |  | Kumwell | CR350-35 | pcs | (Three Way Cable to Rod) One Time 35 mm2 Kumwell CR350-35 | 1.5 |  | MV
| ELECTRICAL | Earthing System | (Two Way Cable to Rod) | One Time |  | 70 mm2 |  | Kumwell | CR2120-70 | pcs | (Two Way Cable to Rod) One Time 70 mm2 Kumwell CR2120-70 | 1.5 |  | UPS
| ELECTRICAL | Earthing System | (Two Way Cable to Rod) | One Time |  | 35 mm2 |  | Kumwell | CR235-50 | pcs | (Two Way Cable to Rod) One Time 35 mm2 Kumwell CR235-50 | 1.5 |  | Wiring Devices
| ELECTRICAL | Earthing System | (Two Way Cable to Rod) | One Time |  | 35 mm2 |  | Kumwell | CR235-35 | pcs | (Two Way Cable to Rod) One Time 35 mm2 Kumwell CR235-35 | 1.5
| ELECTRICAL | Earthing System | (Three Way Cable to Rod) | One Time |  | 95mm2 |  | Kumwell | CR395-95 | pcs | (Three Way Cable to Rod) One Time 95mm2 Kumwell CR395-95 | 1.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | PN12.5 | DN63mm | Black | LESSO |  | m | HDPE Pipe PN12.5 DN63mm Black LESSO | 3.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | PN16 | DN63mm | Black | LESSO |  | m | HDPE Pipe PN16 DN63mm Black LESSO | 3.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | PN16 | OD160mm | Black/Blue | LESSO |  | m | HDPE Pipe PN16 OD160mm Black/Blue LESSO | 3.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | PN12.5 | OD110mm | Black/Blue | LESSO |  | m | HDPE Pipe PN12.5 OD110mm Black/Blue LESSO | 3.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | PN12.5 | OD75mm | Black/Blue | LESSO |  | m | HDPE Pipe PN12.5 OD75mm Black/Blue LESSO | 3.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | PN12.5 | OD40mm | Black/Blue | LESSO |  | m | HDPE Pipe PN12.5 OD40mm Black/Blue LESSO | 2.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | SN16 | OD90mm | Black/Orange | TAP |  | Length(6m) | HDPE Pipe SN16 OD90mm Black/Orange TAP | 3.5
| PLUMBING & FF | Piping & Accessories | HDPE | Pipe | SN16 | OD75mm | Black/Orange | TAP |  | Length(6m) | HDPE Pipe SN16 OD75mm Black/Orange TAP | 3.5
| SERVICE | Rental & Transportation & Installing Fee | Rental | Crane Truck |  | 15T |  |  |  | Package | Rental Crane Truck 15T
| SERVICE | Rental & Transportation & Installing Fee | Rental | Crane Truck |  | 30T |  |  |  | Package | Rental Crane Truck 30T
| SERVICE | Rental & Transportation & Installing Fee | Rental | Crane Truck |  | 35T |  |  |  | Package | Rental Crane Truck 35T
| SERVICE | Rental & Transportation & Installing Fee | Rental | Crane Truck |  | 15T |  |  |  | Packages | Rental Crane Truck 15T
| SERVICE | Rental & Transportation & Installing Fee | Rental | Excavator |  | 1 Month |  |  |  | Package | Rental Excavator 1 Month
| SERVICE | Rental & Transportation & Installing Fee | Rental | Excavator |  | 1 Day |  |  |  | Package | Rental Excavator 1 Day
| SERVICE | Rental & Transportation & Installing Fee | Rental | Sasur Truck |  | 1 Month |  |  |  | Package | Rental Sasur Truck 1 Month
| SERVICE | Rental & Transportation & Installing Fee | Rental | Sasur Truck |  | 1 Day |  |  |  | Package | Rental Sasur Truck 1 Day